# AI Knee Monitoring System - Product Requirements Document (PRD)

# 1. Product Overview

The AI Knee Monitoring System is a mobile application integrated with a wearable device (ESP32-based knee band) that tracks knee movement in real-time, detects abnormalities using AI, and provides feedback.

# 2. Problem Statement

Current solutions lack real-time feedback, are expensive, and do not provide AI insights. This system enables continuous monitoring and rehabilitation support.

# 3. Goals & Objectives

Primary: Real-time tracking, abnormality detection, rehabilitation assistance.
Secondary: Data history, insights, remote monitoring.

# 4. Target Users

Patients, Athletes, Elderly users, Physiotherapists.

# 5. Features

## 5.1 User Authentication

Email login, Phone OTP, Google login, User profile.

## 5.2 Device Connectivity

Bluetooth Low Energy (BLE), connection status, auto-reconnect.

## 5.3 Real-Time Monitoring

Knee angle, movement speed, activity detection, live graphs.

## 5.4 AI-Based Analysis

Detect abnormal movement, risk alerts, recommendations.

## 5.5 Alerts System

Real-time alerts, vibration, sound notifications.

## 5.6 Exercise Module

Squats, leg raises, physiotherapy routines with feedback.

## 5.7 Data Storage

Daily logs, trends, cloud storage.

# 6. AI/ML Requirements

Inputs: Accelerometer, Gyroscope. Outputs: Classification, anomaly detection.

# 7. Hardware

ESP32, IMU sensors, 10–50 Hz sampling.

# 8. Tech Stack

Flutter, Firebase, Firestore, TensorFlow Lite, BLE.

# 9. Security

Encrypted data, secure login.

# 10. Timeline

Week 1-2 UI, Week 3-4 Connectivity, Week 5-6 AI, Week 7 Testing.

# 11. Conclusion

A smart AI-powered knee monitoring solution for healthcare and fitness.